## datasets
idx | dataset | group | channel | field | explanation
0 | /bedmaster/vitals/cuff/event_1 | vitals | cuff | event_1 | Discrete event flags for the Cuff (NIBP) summary channel. Integer/categorical codes marking measurement state (e.g., start/stop, in‑op, alarm, artifact).
1 | /bedmaster/vitals/cuff/event_5 | vitals | cuff | event_5 | Discrete event flags for the Cuff (NIBP) summary channel. Integer/categorical codes marking measurement state (e.g., start/stop, in‑op, alarm, artifact).
2 | /bedmaster/vitals/cuff/sample_freq | vitals | cuff | sample_freq | Sampling frequency (Hz) for the Cuff (NIBP) summary channel. For waveforms this is the sample rate; for numerics it is the update cadence. Represented as segments (frequency, start_index) when the rate changes.
3 | /bedmaster/vitals/cuff/samples_per_ts | vitals | cuff | samples_per_ts | Number of samples stored per timestamped record for the Cuff (NIBP) summary channel. Combine with sampling frequency to reconstruct intra‑record sample times. Typically 1 for numerics; >1 for waveforms.
4 | /bedmaster/vitals/cuff/time | vitals | cuff | time | Timestamps (Unix epoch seconds, UTC) for each Cuff (NIBP) summary record. If a record holds multiple samples, sample k occurs at t + k/ƒs from the record timestamp.
5 | /bedmaster/vitals/cuff/value | vitals | cuff | value | Cuff pressure / NIBP summary numeric in mmHg. Event‑based values corresponding to cuff measurements (device‑specific semantics).
6 | /bedmaster/vitals/hr/event_1 | vitals | hr | event_1 | HR numeric updated at ~1‑second cadence (1 Hz stream)
7 | /bedmaster/vitals/hr/event_5 | vitals | hr | event_5 | HR numeric updated at ~5‑second cadence (0.2 Hz stream)
8 | /bedmaster/vitals/hr/sample_freq | vitals | hr | sample_freq | Sampling frequency in Hz for the HR stream
9 | /bedmaster/vitals/hr/samples_per_ts | vitals | hr | samples_per_ts | How many samples are stored per timestamp “record”
10 | /bedmaster/vitals/hr/time | vitals | hr | time | Timestamps associated with the HR samples/blocks
11 | /bedmaster/vitals/hr/value | vitals | hr | value | Heart rate (HR)
12 | /bedmaster/vitals/nbpd/event_1 | vitals | nbpd | event_1 | NIBP Diastolic
13 | /bedmaster/vitals/nbpd/event_5 | vitals | nbpd | event_5 | Same NIBP diastolic channel
14 | /bedmaster/vitals/nbpd/sample_freq | vitals | nbpd | sample_freq | The sampling frequency (Hz) for the nbpd channel
15 | /bedmaster/vitals/nbpd/samples_per_ts | vitals | nbpd | samples_per_ts | The number of arrayed samples per timestamp for that channel
16 | /bedmaster/vitals/nbpd/time | vitals | nbpd | time | Timestamps for when a diastolic cuff reading exists
17 | /bedmaster/vitals/nbpd/value | vitals | nbpd | value | The diastolic value of a non‑invasive blood pressure measurement, in mmHg
18 | /bedmaster/vitals/nbpm/event_1 | vitals | nbpm | event_1 | Discrete event flags for the NIBP Mean (MAP) channel. Integer/categorical codes marking measurement state (e.g., start/stop, in‑op, alarm, artifact).
19 | /bedmaster/vitals/nbpm/event_5 | vitals | nbpm | event_5 | Discrete event flags attached to the NBP mean (MAP) channel
20 | /bedmaster/vitals/nbpm/sample_freq | vitals | nbpm | sample_freq | The sampling frequency (in Hz) associated with the MAP channel
21 | /bedmaster/vitals/nbpm/samples_per_ts | vitals | nbpm | samples_per_ts | Number of samples stored per timestamped record for the NIBP Mean (MAP) channel. Combine with sampling frequency to reconstruct intra‑record sample times. Typically 1 for numerics; >1 for waveforms.
22 | /bedmaster/vitals/nbpm/time | vitals | nbpm | time | Timestamps (Unix epoch seconds, UTC) for each NIBP Mean (MAP) record. If a record holds multiple samples, sample k occurs at t + k/ƒs from the record timestamp.
23 | /bedmaster/vitals/nbpm/value | vitals | nbpm | value | Non‑invasive blood pressure (mean (MAP)) from oscillometric cuff measurements, in mmHg. Event‑based: appears when a cuff cycle completes.
24 | /bedmaster/vitals/nbps/event_1 | vitals | nbps | event_1 | Discrete event flags for the NIBP Systolic channel. Integer/categorical codes marking measurement state (e.g., start/stop, in‑op, alarm, artifact).
25 | /bedmaster/vitals/nbps/event_5 | vitals | nbps | event_5 | Discrete event flags for the NIBP Systolic channel. Integer/categorical codes marking measurement state (e.g., start/stop, in‑op, alarm, artifact).
26 | /bedmaster/vitals/nbps/sample_freq | vitals | nbps | sample_freq | Sampling frequency (Hz) for the NIBP Systolic channel. For waveforms this is the sample rate; for numerics it is the update cadence. Represented as segments (frequency, start_index) when the rate changes.
27 | /bedmaster/vitals/nbps/samples_per_ts | vitals | nbps | samples_per_ts | Number of samples stored per timestamped record for the NIBP Systolic channel. Combine with sampling frequency to reconstruct intra‑record sample times. Typically 1 for numerics; >1 for waveforms.
28 | /bedmaster/vitals/nbps/time | vitals | nbps | time | Timestamps (Unix epoch seconds, UTC) for each NIBP Systolic record. If a record holds multiple samples, sample k occurs at t + k/ƒs from the record timestamp.
29 | /bedmaster/vitals/nbps/value | vitals | nbps | value | Non‑invasive blood pressure (systolic) from oscillometric cuff measurements, in mmHg. Event‑based: appears when a cuff cycle completes.
30 | /bedmaster/vitals/pvc/event_1 | vitals | pvc | event_1 | Discrete event flags for the PVCs per minute channel. Integer/categorical codes marking measurement state (e.g., start/stop, in‑op, alarm, artifact).
31 | /bedmaster/vitals/pvc/event_5 | vitals | pvc | event_5 | Discrete event flags for the PVCs per minute channel. Integer/categorical codes marking measurement state (e.g., start/stop, in‑op, alarm, artifact).
32 | /bedmaster/vitals/pvc/sample_freq | vitals | pvc | sample_freq | Sampling frequency (Hz) for the PVCs per minute channel. For waveforms this is the sample rate; for numerics it is the update cadence. Represented as segments (frequency, start_index) when the rate changes.
33 | /bedmaster/vitals/pvc/samples_per_ts | vitals | pvc | samples_per_ts | Number of samples stored per timestamped record for the PVCs per minute channel. Combine with sampling frequency to reconstruct intra‑record sample times. Typically 1 for numerics; >1 for waveforms.
34 | /bedmaster/vitals/pvc/time | vitals | pvc | time | Timestamps (Unix epoch seconds, UTC) for each PVCs per minute record. If a record holds multiple samples, sample k occurs at t + k/ƒs from the record timestamp.
35 | /bedmaster/vitals/pvc/value | vitals | pvc | value | Premature ventricular contraction (PVC) burden as a rate per minute. Device reports as bpm; interpret as events/min.
36 | /bedmaster/vitals/spo2%/event_1 | vitals | spo2% | event_1 | Discrete event flags for the SpO₂ saturation (%) channel. Integer/categorical codes marking measurement state (e.g., start/stop, in‑op, alarm, artifact).
37 | /bedmaster/vitals/spo2%/event_5 | vitals | spo2% | event_5 | Discrete event flags for the SpO₂ saturation (%) channel. Integer/categorical codes marking measurement state (e.g., start/stop, in‑op, alarm, artifact).
38 | /bedmaster/vitals/spo2%/sample_freq | vitals | spo2% | sample_freq | Sampling frequency (Hz) for the SpO₂ saturation (%) channel. For waveforms this is the sample rate; for numerics it is the update cadence. Represented as segments (frequency, start_index) when the rate changes.
39 | /bedmaster/vitals/spo2%/samples_per_ts | vitals | spo2% | samples_per_ts | Number of samples stored per timestamped record for the SpO₂ saturation (%) channel. Combine with sampling frequency to reconstruct intra‑record sample times. Typically 1 for numerics; >1 for waveforms.
40 | /bedmaster/vitals/spo2%/time | vitals | spo2% | time | Timestamps (Unix epoch seconds, UTC) for each SpO₂ saturation (%) record. If a record holds multiple samples, sample k occurs at t + k/ƒs from the record timestamp.
41 | /bedmaster/vitals/spo2%/value | vitals | spo2% | value | Peripheral oxygen saturation (SpO₂) numeric, in percent (%). Derived from pulse oximetry; sparse or held during poor signal.
42 | /bedmaster/vitals/spo2r/event_1 | vitals | spo2r | event_1 | Discrete event flags for the Pulse rate from oximeter (PR) channel. Integer/categorical codes marking measurement state (e.g., start/stop, in‑op, alarm, artifact).
43 | /bedmaster/vitals/spo2r/event_5 | vitals | spo2r | event_5 | Discrete event flags for the Pulse rate from oximeter (PR) channel. Integer/categorical codes marking measurement state (e.g., start/stop, in‑op, alarm, artifact).
44 | /bedmaster/vitals/spo2r/sample_freq | vitals | spo2r | sample_freq | Sampling frequency (Hz) for the Pulse rate from oximeter (PR) channel. For waveforms this is the sample rate; for numerics it is the update cadence. Represented as segments (frequency, start_index) when the rate changes.
45 | /bedmaster/vitals/spo2r/samples_per_ts | vitals | spo2r | samples_per_ts | Number of samples stored per timestamped record for the Pulse rate from oximeter (PR) channel. Combine with sampling frequency to reconstruct intra‑record sample times. Typically 1 for numerics; >1 for waveforms.
46 | /bedmaster/vitals/spo2r/time | vitals | spo2r | time | Timestamps (Unix epoch seconds, UTC) for each Pulse rate from oximeter (PR) record. If a record holds multiple samples, sample k occurs at t + k/ƒs from the record timestamp.
47 | /bedmaster/vitals/spo2r/value | vitals | spo2r | value | Pulse rate reported by the pulse oximeter (PR), in bpm. May differ slightly from ECG-derived HR.
48 | /bedmaster/vitals/stavf/event_1 | vitals | stavf | event_1 | Discrete event flags for the ECG ST aVF channel. Integer/categorical codes marking measurement state (e.g., start/stop, in‑op, alarm, artifact).
49 | /bedmaster/vitals/stavf/event_5 | vitals | stavf | event_5 | Discrete event flags for the ECG ST aVF channel. Integer/categorical codes marking measurement state (e.g., start/stop, in‑op, alarm, artifact).
50 | /bedmaster/vitals/stavf/sample_freq | vitals | stavf | sample_freq | Sampling frequency (Hz) for the ECG ST aVF channel. For waveforms this is the sample rate; for numerics it is the update cadence. Represented as segments (frequency, start_index) when the rate changes.
51 | /bedmaster/vitals/stavf/samples_per_ts | vitals | stavf | samples_per_ts | Number of samples stored per timestamped record for the ECG ST aVF channel. Combine with sampling frequency to reconstruct intra‑record sample times. Typically 1 for numerics; >1 for waveforms.
52 | /bedmaster/vitals/stavf/time | vitals | stavf | time | Timestamps (Unix epoch seconds, UTC) for each ECG ST aVF record. If a record holds multiple samples, sample k occurs at t + k/ƒs from the record timestamp.
53 | /bedmaster/vitals/stavf/value | vitals | stavf | value | ST‑segment deviation numeric for lead AVF. Units not provided by device (mV or mm (device-specific)); typically mV or mm referenced to device baseline.
54 | /bedmaster/vitals/stavl/event_1 | vitals | stavl | event_1 | Discrete event flags for the ECG ST aVL channel. Integer/categorical codes marking measurement state (e.g., start/stop, in‑op, alarm, artifact).
55 | /bedmaster/vitals/stavl/event_5 | vitals | stavl | event_5 | Discrete event flags for the ECG ST aVL channel. Integer/categorical codes marking measurement state (e.g., start/stop, in‑op, alarm, artifact).
56 | /bedmaster/vitals/stavl/sample_freq | vitals | stavl | sample_freq | Sampling frequency (Hz) for the ECG ST aVL channel. For waveforms this is the sample rate; for numerics it is the update cadence. Represented as segments (frequency, start_index) when the rate changes.
57 | /bedmaster/vitals/stavl/samples_per_ts | vitals | stavl | samples_per_ts | Number of samples stored per timestamped record for the ECG ST aVL channel. Combine with sampling frequency to reconstruct intra‑record sample times. Typically 1 for numerics; >1 for waveforms.
58 | /bedmaster/vitals/stavl/time | vitals | stavl | time | Timestamps (Unix epoch seconds, UTC) for each ECG ST aVL record. If a record holds multiple samples, sample k occurs at t + k/ƒs from the record timestamp.
59 | /bedmaster/vitals/stavl/value | vitals | stavl | value | ST‑segment deviation numeric for lead AVL. Units not provided by device (mV or mm (device-specific)); typically mV or mm referenced to device baseline.
60 | /bedmaster/vitals/stavr/event_1 | vitals | stavr | event_1 | Discrete event flags for the ECG ST aVR channel. Integer/categorical codes marking measurement state (e.g., start/stop, in‑op, alarm, artifact).
61 | /bedmaster/vitals/stavr/event_5 | vitals | stavr | event_5 | Discrete event flags for the ECG ST aVR channel. Integer/categorical codes marking measurement state (e.g., start/stop, in‑op, alarm, artifact).
62 | /bedmaster/vitals/stavr/sample_freq | vitals | stavr | sample_freq | Sampling frequency (Hz) for the ECG ST aVR channel. For waveforms this is the sample rate; for numerics it is the update cadence. Represented as segments (frequency, start_index) when the rate changes.
63 | /bedmaster/vitals/stavr/samples_per_ts | vitals | stavr | samples_per_ts | Number of samples stored per timestamped record for the ECG ST aVR channel. Combine with sampling frequency to reconstruct intra‑record sample times. Typically 1 for numerics; >1 for waveforms.
64 | /bedmaster/vitals/stavr/time | vitals | stavr | time | Timestamps (Unix epoch seconds, UTC) for each ECG ST aVR record. If a record holds multiple samples, sample k occurs at t + k/ƒs from the record timestamp.
65 | /bedmaster/vitals/stavr/value | vitals | stavr | value | ST‑segment deviation numeric for lead AVR. Units not provided by device (mV or mm (device-specific)); typically mV or mm referenced to device baseline.
66 | /bedmaster/vitals/sti/event_1 | vitals | sti | event_1 | Discrete event flags for the ECG ST I channel. Integer/categorical codes marking measurement state (e.g., start/stop, in‑op, alarm, artifact).
67 | /bedmaster/vitals/sti/event_5 | vitals | sti | event_5 | Discrete event flags for the ECG ST I channel. Integer/categorical codes marking measurement state (e.g., start/stop, in‑op, alarm, artifact).
68 | /bedmaster/vitals/sti/sample_freq | vitals | sti | sample_freq | Sampling frequency (Hz) for the ECG ST I channel. For waveforms this is the sample rate; for numerics it is the update cadence. Represented as segments (frequency, start_index) when the rate changes.
69 | /bedmaster/vitals/sti/samples_per_ts | vitals | sti | samples_per_ts | Number of samples stored per timestamped record for the ECG ST I channel. Combine with sampling frequency to reconstruct intra‑record sample times. Typically 1 for numerics; >1 for waveforms.
70 | /bedmaster/vitals/sti/time | vitals | sti | time | Timestamps (Unix epoch seconds, UTC) for each ECG ST I record. If a record holds multiple samples, sample k occurs at t + k/ƒs from the record timestamp.
71 | /bedmaster/vitals/sti/value | vitals | sti | value | ST‑segment deviation numeric for lead I. Units not provided by device (mV or mm (device-specific)); typically mV or mm referenced to device baseline.
72 | /bedmaster/vitals/stii/event_1 | vitals | stii | event_1 | Discrete event flags for the ECG ST II channel. Integer/categorical codes marking measurement state (e.g., start/stop, in‑op, alarm, artifact).
73 | /bedmaster/vitals/stii/event_5 | vitals | stii | event_5 | Discrete event flags for the ECG ST II channel. Integer/categorical codes marking measurement state (e.g., start/stop, in‑op, alarm, artifact).
74 | /bedmaster/vitals/stii/sample_freq | vitals | stii | sample_freq | Sampling frequency (Hz) for the ECG ST II channel. For waveforms this is the sample rate; for numerics it is the update cadence. Represented as segments (frequency, start_index) when the rate changes.
75 | /bedmaster/vitals/stii/samples_per_ts | vitals | stii | samples_per_ts | Number of samples stored per timestamped record for the ECG ST II channel. Combine with sampling frequency to reconstruct intra‑record sample times. Typically 1 for numerics; >1 for waveforms.
76 | /bedmaster/vitals/stii/time | vitals | stii | time | Timestamps (Unix epoch seconds, UTC) for each ECG ST II record. If a record holds multiple samples, sample k occurs at t + k/ƒs from the record timestamp.
77 | /bedmaster/vitals/stii/value | vitals | stii | value | ST‑segment deviation numeric for lead II. Units not provided by device (mV or mm (device-specific)); typically mV or mm referenced to device baseline.
78 | /bedmaster/vitals/stiii/event_1 | vitals | stiii | event_1 | Discrete event flags for the ECG ST III channel. Integer/categorical codes marking measurement state (e.g., start/stop, in‑op, alarm, artifact).
79 | /bedmaster/vitals/stiii/event_5 | vitals | stiii | event_5 | Discrete event flags for the ECG ST III channel. Integer/categorical codes marking measurement state (e.g., start/stop, in‑op, alarm, artifact).
80 | /bedmaster/vitals/stiii/sample_freq | vitals | stiii | sample_freq | Sampling frequency (Hz) for the ECG ST III channel. For waveforms this is the sample rate; for numerics it is the update cadence. Represented as segments (frequency, start_index) when the rate changes.
81 | /bedmaster/vitals/stiii/samples_per_ts | vitals | stiii | samples_per_ts | Number of samples stored per timestamped record for the ECG ST III channel. Combine with sampling frequency to reconstruct intra‑record sample times. Typically 1 for numerics; >1 for waveforms.
82 | /bedmaster/vitals/stiii/time | vitals | stiii | time | Timestamps (Unix epoch seconds, UTC) for each ECG ST III record. If a record holds multiple samples, sample k occurs at t + k/ƒs from the record timestamp.
83 | /bedmaster/vitals/stiii/value | vitals | stiii | value | ST‑segment deviation numeric for lead III. Units not provided by device (mV or mm (device-specific)); typically mV or mm referenced to device baseline.
84 | /bedmaster/vitals/stv/event_1 | vitals | stv | event_1 | Discrete event flags for the ECG ST V channel. Integer/categorical codes marking measurement state (e.g., start/stop, in‑op, alarm, artifact).
85 | /bedmaster/vitals/stv/event_5 | vitals | stv | event_5 | Discrete event flags for the ECG ST V channel. Integer/categorical codes marking measurement state (e.g., start/stop, in‑op, alarm, artifact).
86 | /bedmaster/vitals/stv/sample_freq | vitals | stv | sample_freq | Sampling frequency (Hz) for the ECG ST V channel. For waveforms this is the sample rate; for numerics it is the update cadence. Represented as segments (frequency, start_index) when the rate changes.
87 | /bedmaster/vitals/stv/samples_per_ts | vitals | stv | samples_per_ts | Number of samples stored per timestamped record for the ECG ST V channel. Combine with sampling frequency to reconstruct intra‑record sample times. Typically 1 for numerics; >1 for waveforms.
88 | /bedmaster/vitals/stv/time | vitals | stv | time | Timestamps (Unix epoch seconds, UTC) for each ECG ST V record. If a record holds multiple samples, sample k occurs at t + k/ƒs from the record timestamp.
89 | /bedmaster/vitals/stv/value | vitals | stv | value | ST‑segment deviation numeric for lead V. Units not provided by device (mV or mm (device-specific)); typically mV or mm referenced to device baseline.
90 | /bedmaster/vitals/stv1/event_1 | vitals | stv1 | event_1 | Discrete event flags for the ECG ST V1 channel. Integer/categorical codes marking measurement state (e.g., start/stop, in‑op, alarm, artifact).
91 | /bedmaster/vitals/stv1/event_5 | vitals | stv1 | event_5 | Discrete event flags for the ECG ST V1 channel. Integer/categorical codes marking measurement state (e.g., start/stop, in‑op, alarm, artifact).
92 | /bedmaster/vitals/stv1/sample_freq | vitals | stv1 | sample_freq | Sampling frequency (Hz) for the ECG ST V1 channel. For waveforms this is the sample rate; for numerics it is the update cadence. Represented as segments (frequency, start_index) when the rate changes.
93 | /bedmaster/vitals/stv1/samples_per_ts | vitals | stv1 | samples_per_ts | Number of samples stored per timestamped record for the ECG ST V1 channel. Combine with sampling frequency to reconstruct intra‑record sample times. Typically 1 for numerics; >1 for waveforms.
94 | /bedmaster/vitals/stv1/time | vitals | stv1 | time | Timestamps (Unix epoch seconds, UTC) for each ECG ST V1 record. If a record holds multiple samples, sample k occurs at t + k/ƒs from the record timestamp.
95 | /bedmaster/vitals/stv1/value | vitals | stv1 | value | ST‑segment deviation numeric for lead V1. Units not provided by device (mV or mm (device-specific)); typically mV or mm referenced to device baseline.
96 | /bedmaster/vitals/stv2/event_1 | vitals | stv2 | event_1 | Discrete event flags for the ECG ST V2 channel. Integer/categorical codes marking measurement state (e.g., start/stop, in‑op, alarm, artifact).
97 | /bedmaster/vitals/stv2/event_5 | vitals | stv2 | event_5 | Discrete event flags for the ECG ST V2 channel. Integer/categorical codes marking measurement state (e.g., start/stop, in‑op, alarm, artifact).
98 | /bedmaster/vitals/stv2/sample_freq | vitals | stv2 | sample_freq | Sampling frequency (Hz) for the ECG ST V2 channel. For waveforms this is the sample rate; for numerics it is the update cadence. Represented as segments (frequency, start_index) when the rate changes.
99 | /bedmaster/vitals/stv2/samples_per_ts | vitals | stv2 | samples_per_ts | Number of samples stored per timestamped record for the ECG ST V2 channel. Combine with sampling frequency to reconstruct intra‑record sample times. Typically 1 for numerics; >1 for waveforms.
100 | /bedmaster/vitals/stv2/time | vitals | stv2 | time | Timestamps (Unix epoch seconds, UTC) for each ECG ST V2 record. If a record holds multiple samples, sample k occurs at t + k/ƒs from the record timestamp.
101 | /bedmaster/vitals/stv2/value | vitals | stv2 | value | ST‑segment deviation numeric for lead V2. Units not provided by device (mV or mm (device-specific)); typically mV or mm referenced to device baseline.
102 | /bedmaster/vitals/stv3/event_1 | vitals | stv3 | event_1 | Discrete event flags for the ECG ST V3 channel. Integer/categorical codes marking measurement state (e.g., start/stop, in‑op, alarm, artifact).
103 | /bedmaster/vitals/stv3/event_5 | vitals | stv3 | event_5 | Discrete event flags for the ECG ST V3 channel. Integer/categorical codes marking measurement state (e.g., start/stop, in‑op, alarm, artifact).
104 | /bedmaster/vitals/stv3/sample_freq | vitals | stv3 | sample_freq | Sampling frequency (Hz) for the ECG ST V3 channel. For waveforms this is the sample rate; for numerics it is the update cadence. Represented as segments (frequency, start_index) when the rate changes.
105 | /bedmaster/vitals/stv3/samples_per_ts | vitals | stv3 | samples_per_ts | Number of samples stored per timestamped record for the ECG ST V3 channel. Combine with sampling frequency to reconstruct intra‑record sample times. Typically 1 for numerics; >1 for waveforms.
106 | /bedmaster/vitals/stv3/time | vitals | stv3 | time | Timestamps (Unix epoch seconds, UTC) for each ECG ST V3 record. If a record holds multiple samples, sample k occurs at t + k/ƒs from the record timestamp.
107 | /bedmaster/vitals/stv3/value | vitals | stv3 | value | ST‑segment deviation numeric for lead V3. Units not provided by device (mV or mm (device-specific)); typically mV or mm referenced to device baseline.
108 | /bedmaster/vitals/stv4/event_1 | vitals | stv4 | event_1 | Discrete event flags for the ECG ST V4 channel. Integer/categorical codes marking measurement state (e.g., start/stop, in‑op, alarm, artifact).
109 | /bedmaster/vitals/stv4/event_5 | vitals | stv4 | event_5 | Discrete event flags for the ECG ST V4 channel. Integer/categorical codes marking measurement state (e.g., start/stop, in‑op, alarm, artifact).
110 | /bedmaster/vitals/stv4/sample_freq | vitals | stv4 | sample_freq | Sampling frequency (Hz) for the ECG ST V4 channel. For waveforms this is the sample rate; for numerics it is the update cadence. Represented as segments (frequency, start_index) when the rate changes.
111 | /bedmaster/vitals/stv4/samples_per_ts | vitals | stv4 | samples_per_ts | Number of samples stored per timestamped record for the ECG ST V4 channel. Combine with sampling frequency to reconstruct intra‑record sample times. Typically 1 for numerics; >1 for waveforms.
112 | /bedmaster/vitals/stv4/time | vitals | stv4 | time | Timestamps (Unix epoch seconds, UTC) for each ECG ST V4 record. If a record holds multiple samples, sample k occurs at t + k/ƒs from the record timestamp.
113 | /bedmaster/vitals/stv4/value | vitals | stv4 | value | ST‑segment deviation numeric for lead V4. Units not provided by device (mV or mm (device-specific)); typically mV or mm referenced to device baseline.
114 | /bedmaster/vitals/stv5/event_1 | vitals | stv5 | event_1 | Discrete event flags for the ECG ST V5 channel. Integer/categorical codes marking measurement state (e.g., start/stop, in‑op, alarm, artifact).
115 | /bedmaster/vitals/stv5/event_5 | vitals | stv5 | event_5 | Discrete event flags for the ECG ST V5 channel. Integer/categorical codes marking measurement state (e.g., start/stop, in‑op, alarm, artifact).
116 | /bedmaster/vitals/stv5/sample_freq | vitals | stv5 | sample_freq | Sampling frequency (Hz) for the ECG ST V5 channel. For waveforms this is the sample rate; for numerics it is the update cadence. Represented as segments (frequency, start_index) when the rate changes.
117 | /bedmaster/vitals/stv5/samples_per_ts | vitals | stv5 | samples_per_ts | Number of samples stored per timestamped record for the ECG ST V5 channel. Combine with sampling frequency to reconstruct intra‑record sample times. Typically 1 for numerics; >1 for waveforms.
118 | /bedmaster/vitals/stv5/time | vitals | stv5 | time | Timestamps (Unix epoch seconds, UTC) for each ECG ST V5 record. If a record holds multiple samples, sample k occurs at t + k/ƒs from the record timestamp.
119 | /bedmaster/vitals/stv5/value | vitals | stv5 | value | ST‑segment deviation numeric for lead V5. Units not provided by device (mV or mm (device-specific)); typically mV or mm referenced to device baseline.
120 | /bedmaster/vitals/stv6/event_1 | vitals | stv6 | event_1 | Discrete event flags for the ECG ST V6 channel. Integer/categorical codes marking measurement state (e.g., start/stop, in‑op, alarm, artifact).
121 | /bedmaster/vitals/stv6/event_5 | vitals | stv6 | event_5 | Discrete event flags for the ECG ST V6 channel. Integer/categorical codes marking measurement state (e.g., start/stop, in‑op, alarm, artifact).
122 | /bedmaster/vitals/stv6/sample_freq | vitals | stv6 | sample_freq | Sampling frequency (Hz) for the ECG ST V6 channel. For waveforms this is the sample rate; for numerics it is the update cadence. Represented as segments (frequency, start_index) when the rate changes.
123 | /bedmaster/vitals/stv6/samples_per_ts | vitals | stv6 | samples_per_ts | Number of samples stored per timestamped record for the ECG ST V6 channel. Combine with sampling frequency to reconstruct intra‑record sample times. Typically 1 for numerics; >1 for waveforms.
124 | /bedmaster/vitals/stv6/time | vitals | stv6 | time | Timestamps (Unix epoch seconds, UTC) for each ECG ST V6 record. If a record holds multiple samples, sample k occurs at t + k/ƒs from the record timestamp.
125 | /bedmaster/vitals/stv6/value | vitals | stv6 | value | ST‑segment deviation numeric for lead V6. Units not provided by device (mV or mm (device-specific)); typically mV or mm referenced to device baseline.
126 | /bedmaster/waveforms/i/event_1 | waveforms | i | event_1 | Discrete event flags for the ECG lead I channel. Integer/categorical codes marking measurement state (e.g., start/stop, in‑op, alarm, artifact).
127 | /bedmaster/waveforms/i/event_2 | waveforms | i | event_2 | Discrete event flags for the ECG lead I channel. Integer/categorical codes marking measurement state (e.g., start/stop, in‑op, alarm, artifact).
128 | /bedmaster/waveforms/i/event_3 | waveforms | i | event_3 | Discrete event flags for the ECG lead I channel. Integer/categorical codes marking measurement state (e.g., start/stop, in‑op, alarm, artifact).
129 | /bedmaster/waveforms/i/event_4 | waveforms | i | event_4 | Discrete event flags for the ECG lead I channel. Integer/categorical codes marking measurement state (e.g., start/stop, in‑op, alarm, artifact).
130 | /bedmaster/waveforms/i/event_5 | waveforms | i | event_5 | Discrete event flags for the ECG lead I channel. Integer/categorical codes marking measurement state (e.g., start/stop, in‑op, alarm, artifact).
131 | /bedmaster/waveforms/i/sample_freq | waveforms | i | sample_freq | Sampling frequency (Hz) for the ECG lead I channel. For waveforms this is the sample rate; for numerics it is the update cadence. Represented as segments (frequency, start_index) when the rate changes.
132 | /bedmaster/waveforms/i/samples_per_ts | waveforms | i | samples_per_ts | Number of samples stored per timestamped record for the ECG lead I channel. Combine with sampling frequency to reconstruct intra‑record sample times. Typically 1 for numerics; >1 for waveforms.
133 | /bedmaster/waveforms/i/time | waveforms | i | time | Timestamps (Unix epoch seconds, UTC) for each ECG lead I record. If a record holds multiple samples, sample k occurs at t + k/ƒs from the record timestamp.
134 | /bedmaster/waveforms/i/value | waveforms | i | value | Raw ECG lead I waveform samples in mV. Continuous ECG signal; use sample frequency to compute sample-to-sample spacing.
135 | /bedmaster/waveforms/ii/event_1 | waveforms | ii | event_1 | Discrete event flags for the ECG lead II channel. Integer/categorical codes marking measurement state (e.g., start/stop, in‑op, alarm, artifact).
136 | /bedmaster/waveforms/ii/event_2 | waveforms | ii | event_2 | Discrete event flags for the ECG lead II channel. Integer/categorical codes marking measurement state (e.g., start/stop, in‑op, alarm, artifact).
137 | /bedmaster/waveforms/ii/event_3 | waveforms | ii | event_3 | Discrete event flags for the ECG lead II channel. Integer/categorical codes marking measurement state (e.g., start/stop, in‑op, alarm, artifact).
138 | /bedmaster/waveforms/ii/event_4 | waveforms | ii | event_4 | Discrete event flags for the ECG lead II channel. Integer/categorical codes marking measurement state (e.g., start/stop, in‑op, alarm, artifact).
139 | /bedmaster/waveforms/ii/event_5 | waveforms | ii | event_5 | Discrete event flags for the ECG lead II channel. Integer/categorical codes marking measurement state (e.g., start/stop, in‑op, alarm, artifact).
140 | /bedmaster/waveforms/ii/sample_freq | waveforms | ii | sample_freq | Sampling frequency (Hz) for the ECG lead II channel. For waveforms this is the sample rate; for numerics it is the update cadence. Represented as segments (frequency, start_index) when the rate changes.
141 | /bedmaster/waveforms/ii/samples_per_ts | waveforms | ii | samples_per_ts | Number of samples stored per timestamped record for the ECG lead II channel. Combine with sampling frequency to reconstruct intra‑record sample times. Typically 1 for numerics; >1 for waveforms.
142 | /bedmaster/waveforms/ii/time | waveforms | ii | time | Timestamps (Unix epoch seconds, UTC) for each ECG lead II record. If a record holds multiple samples, sample k occurs at t + k/ƒs from the record timestamp.
143 | /bedmaster/waveforms/ii/value | waveforms | ii | value | Raw ECG lead II waveform samples in mV. Continuous ECG signal; use sample frequency to compute sample-to-sample spacing.
144 | /bedmaster/waveforms/iii/event_1 | waveforms | iii | event_1 | Discrete event flags for the ECG lead III channel. Integer/categorical codes marking measurement state (e.g., start/stop, in‑op, alarm, artifact).
145 | /bedmaster/waveforms/iii/event_2 | waveforms | iii | event_2 | Discrete event flags for the ECG lead III channel. Integer/categorical codes marking measurement state (e.g., start/stop, in‑op, alarm, artifact).
146 | /bedmaster/waveforms/iii/event_3 | waveforms | iii | event_3 | Discrete event flags for the ECG lead III channel. Integer/categorical codes marking measurement state (e.g., start/stop, in‑op, alarm, artifact).
147 | /bedmaster/waveforms/iii/event_4 | waveforms | iii | event_4 | Discrete event flags for the ECG lead III channel. Integer/categorical codes marking measurement state (e.g., start/stop, in‑op, alarm, artifact).
148 | /bedmaster/waveforms/iii/event_5 | waveforms | iii | event_5 | Discrete event flags for the ECG lead III channel. Integer/categorical codes marking measurement state (e.g., start/stop, in‑op, alarm, artifact).
149 | /bedmaster/waveforms/iii/sample_freq | waveforms | iii | sample_freq | Sampling frequency (Hz) for the ECG lead III channel. For waveforms this is the sample rate; for numerics it is the update cadence. Represented as segments (frequency, start_index) when the rate changes.
150 | /bedmaster/waveforms/iii/samples_per_ts | waveforms | iii | samples_per_ts | Number of samples stored per timestamped record for the ECG lead III channel. Combine with sampling frequency to reconstruct intra‑record sample times. Typically 1 for numerics; >1 for waveforms.
151 | /bedmaster/waveforms/iii/time | waveforms | iii | time | Timestamps (Unix epoch seconds, UTC) for each ECG lead III record. If a record holds multiple samples, sample k occurs at t + k/ƒs from the record timestamp.
152 | /bedmaster/waveforms/iii/value | waveforms | iii | value | Raw ECG lead III waveform samples in mV. Continuous ECG signal; use sample frequency to compute sample-to-sample spacing.
153 | /bedmaster/waveforms/spo2/event_1 | waveforms | spo2 | event_1 | Discrete event flags for the SpO₂ pleth waveform channel. Integer/categorical codes marking measurement state (e.g., start/stop, in‑op, alarm, artifact).
154 | /bedmaster/waveforms/spo2/event_2 | waveforms | spo2 | event_2 | Discrete event flags for the SpO₂ pleth waveform channel. Integer/categorical codes marking measurement state (e.g., start/stop, in‑op, alarm, artifact).
155 | /bedmaster/waveforms/spo2/event_3 | waveforms | spo2 | event_3 | Discrete event flags for the SpO₂ pleth waveform channel. Integer/categorical codes marking measurement state (e.g., start/stop, in‑op, alarm, artifact).
156 | /bedmaster/waveforms/spo2/event_4 | waveforms | spo2 | event_4 | Discrete event flags for the SpO₂ pleth waveform channel. Integer/categorical codes marking measurement state (e.g., start/stop, in‑op, alarm, artifact).
157 | /bedmaster/waveforms/spo2/event_5 | waveforms | spo2 | event_5 | Discrete event flags for the SpO₂ pleth waveform channel. Integer/categorical codes marking measurement state (e.g., start/stop, in‑op, alarm, artifact).
158 | /bedmaster/waveforms/spo2/sample_freq | waveforms | spo2 | sample_freq | Sampling frequency (Hz) for the SpO₂ pleth waveform channel. For waveforms this is the sample rate; for numerics it is the update cadence. Represented as segments (frequency, start_index) when the rate changes.
159 | /bedmaster/waveforms/spo2/samples_per_ts | waveforms | spo2 | samples_per_ts | Number of samples stored per timestamped record for the SpO₂ pleth waveform channel. Combine with sampling frequency to reconstruct intra‑record sample times. Typically 1 for numerics; >1 for waveforms.
160 | /bedmaster/waveforms/spo2/time | waveforms | spo2 | time | Timestamps (Unix epoch seconds, UTC) for each SpO₂ pleth waveform record. If a record holds multiple samples, sample k occurs at t + k/ƒs from the record timestamp.
161 | /bedmaster/waveforms/spo2/value | waveforms | spo2 | value | Pulse oximetry plethysmograph waveform samples. Units as provided by device (%). Values are continuous samples; use the waveform sample frequency to reconstruct spacing.
162 | /bedmaster/waveforms/v/event_1 | waveforms | v | event_1 | Discrete event flags for the ECG lead V channel. Integer/categorical codes marking measurement state (e.g., start/stop, in‑op, alarm, artifact).
163 | /bedmaster/waveforms/v/event_2 | waveforms | v | event_2 | Discrete event flags for the ECG lead V channel. Integer/categorical codes marking measurement state (e.g., start/stop, in‑op, alarm, artifact).
164 | /bedmaster/waveforms/v/event_3 | waveforms | v | event_3 | Discrete event flags for the ECG lead V channel. Integer/categorical codes marking measurement state (e.g., start/stop, in‑op, alarm, artifact).
165 | /bedmaster/waveforms/v/event_4 | waveforms | v | event_4 | Discrete event flags for the ECG lead V channel. Integer/categorical codes marking measurement state (e.g., start/stop, in‑op, alarm, artifact).
166 | /bedmaster/waveforms/v/event_5 | waveforms | v | event_5 | Discrete event flags for the ECG lead V channel. Integer/categorical codes marking measurement state (e.g., start/stop, in‑op, alarm, artifact).
167 | /bedmaster/waveforms/v/sample_freq | waveforms | v | sample_freq | Sampling frequency (Hz) for the ECG lead V channel. For waveforms this is the sample rate; for numerics it is the update cadence. Represented as segments (frequency, start_index) when the rate changes.
168 | /bedmaster/waveforms/v/samples_per_ts | waveforms | v | samples_per_ts | Number of samples stored per timestamped record for the ECG lead V channel. Combine with sampling frequency to reconstruct intra‑record sample times. Typically 1 for numerics; >1 for waveforms.
169 | /bedmaster/waveforms/v/time | waveforms | v | time | Timestamps (Unix epoch seconds, UTC) for each ECG lead V record. If a record holds multiple samples, sample k occurs at t + k/ƒs from the record timestamp.
170 | /bedmaster/waveforms/v/value | waveforms | v | value | Raw ECG lead V waveform samples in mV. Continuous ECG signal; use sample frequency to compute sample-to-sample spacing.

## README
Field | Definition used
value | Channel values. For vitals, scalar numerics; for waveforms, arrays of samples. Units from device metadata when available.
time | Unix epoch seconds (UTC) for each record; intra‑record samples at t + k/fs.
sample_freq | Sampling frequency in Hz. For numerics, update cadence; for waveforms, sample rate. Stored as segments (frequency, start_index) when the rate changes.
samples_per_ts | Number of samples stored per timestamped record. Usually 1 for numerics; >1 for waveforms.
event_1..event_5 | Discrete event flags (device‑specific). Used to annotate measurement state (start/stop, in‑op, alarms, artifact, etc.).

## channel_notes
channel | note
cuff | Cuff (NBP) summary numeric (mmHg). Vendor‑specific semantics.
hr | Heart rate numeric (bpm).
i | Continuous waveform samples.
ii | Continuous waveform samples.
iii | Continuous waveform samples.
nbpd | NIBP Diastolic (mmHg), event‑based per cuff cycle.
nbpm | NIBP Mean (MAP) (mmHg), event‑based per cuff cycle.
nbps | NIBP Systolic (mmHg), event‑based per cuff cycle.
pvc | PVC burden as rate (events/min).
spo2 | Continuous waveform samples.
spo2% | SpO₂ saturation percent (%).
spo2r | Pulse rate from oximeter (bpm).
stavf | ST‑segment deviation numeric for the named lead (units device‑dependent).
stavl | ST‑segment deviation numeric for the named lead (units device‑dependent).
stavr | ST‑segment deviation numeric for the named lead (units device‑dependent).
sti | ST‑segment deviation numeric for the named lead (units device‑dependent).
stii | ST‑segment deviation numeric for the named lead (units device‑dependent).
stiii | ST‑segment deviation numeric for the named lead (units device‑dependent).
stv | ST‑segment deviation numeric for the named lead (units device‑dependent).
stv1 | ST‑segment deviation numeric for the named lead (units device‑dependent).
stv2 | ST‑segment deviation numeric for the named lead (units device‑dependent).
stv3 | ST‑segment deviation numeric for the named lead (units device‑dependent).
stv4 | ST‑segment deviation numeric for the named lead (units device‑dependent).
stv5 | ST‑segment deviation numeric for the named lead (units device‑dependent).
stv6 | ST‑segment deviation numeric for the named lead (units device‑dependent).
v | Continuous waveform samples.